## 4.2.3.2b-CME TS B.Pal
Lot 2: Transfer Stations in Municipalities Vrbas and Bačka Palanka
VOLUME 4.2.3 — BREAKDOWN OF THE LUMP-SUM PRICE
4.2.3.3 - Schedule 2b of Civil, Mechanical and Electrical Works - TS Bačka Palanka
Item | Description | Unit | Amount EUR
2 | Construction of TS Bačka Palanka
2.1 | Civil and Building Works (including building services)
2.1.1 | Preparatory Works | Lump sum
2.1.2 | Weighbridge | Lump sum
2.1.3 | Gatehouse/Weighbridge house | Lump sum
2.1.4 | Transshipment station | Lump sum
2.1.5 | Canopy for secondary raw materials | Lump sum
2.1.6 | Storage for bulk waste (boxes with canopy) | Lump sum
2.1.7 | Hall for waste sorting | Lump sum
2.1.8 | Canopy for baled waste | Lump sum
2.1.9 | Building for workers | Lump sum
2.1.10 | Plateau of Diesel generator | Lump sum
2.1.11 | Technical water well, PS for potable water supply, PS for fire-fighting water supply and water storage tanks | Lump sum
2.1.12 | Wastewater tanks, Oil separator and Discharge structure | Lump sum
2.1.13 | Prefabricated Transformer Station | Lump sum
2.1.14 | Roads, paths, parking areas and plateaus | Lump sum
2.1.15 | Fences, Gates and Sound barrier | Lump sum
2.1.16 | Landscaping | Lump sum
2.1.17 | Piping Works | Lump sum
2.1.18 | Furniture | Lump sum
Total Civil and Building Works: |  |  | 0
2.2 | Mechanical Works
2.2.1 | Weighbridge | Lump sum
2.2.2 | Transshipment station | Lump sum
2.2.3 | Canopy for secondary raw materials (containers) | Lump sum
2.2.4 | Container-type storage for HHW | Lump sum
2.2.5 | Container for electrical and electronic waste | Lump sum
2.2.6 | Hall for waste sorting (sorting line and baling line) | Lump sum
2.2.7 | Technical water well, PS for potable water supply, PS for fire-fighting water supply and water storage tanks | Lump sum
2.2.8 | Forklift | Lump sum
2.2.9 | Accessories | Lump sum
2.2.10 | Heating and Air conditioning | Lump sum
Total Mechanical Works: |  |  | 0
2.3 | Electrical Works
2.3.1 | Prefabricated Transformer station PCTS “Deponija” 20/0.4kV, 1x400kVA | Lump sum
2.3.2 | Diesel generator | Lump sum
2.3.3 | Outdoor Power supply LV cable network and cable sewerage (manholes and pipes) | Lump sum
2.3.4 | Outdoor Lighting & Earthing | Lump sum
2.3.5 | 0,4kV Distribution Boards & Sub-Distribution Boards (power & control) | Lump sum
2.3.6 | Building power & control installation (lighting, small power, lightning & earthing, technology consumers, HVAC & plumbing consumers, UPS,...) | Lump sum
2.3.7 | SCADA System | Lump sum
2.3.8 | Instrumentation | Lump sum
2.3.9 | Outdoor telecommunication infrastructure | Lump sum
2.3.10 | Structural cable system and telephone system | Lump sum
2.3.11 | Video surveillance (CCTV) | Lump sum
2.3.12 | Fire alarm system | Lump sum
2.3.13 | Access control (ACC) and time attendance (TA) | Lump sum
2.3.14 | Intercom | Lump sum
2.3.15 | Public Address | Lump sum
Total Electrical Works: |  |  | 0
Total for Schedule No 2b: Construction of the TS Bačka Palanka (to be carried forward to the Summary) |  |  | 0